City of San Antonio CIMS
70 % Design Checklist
The following are minimum requirements for a 70% Submittal. The Design Consultant must provide as much information as possible to assist City staff in the review and to simplify approval for the following submittal. A submittal will be classified as incomplete if any of the items identified below are missing. 
PROJECT NAME: 



SUBMITTED TO: 

     (CITY PM)   
SUBMITTED BY: 

     (CONSULTANT PM) 

REVIEWED BY: 

 
*Follow TxDOT criteria for Local Area Management (LAM) Projects*

Front-End Plan Sheets
· City Title Block
· Index of Sheets

· Project Layout/Control Points

· General Notes
· Update Summary of Estimated Quantities
· Driveway Summary Sheet

· Existing Typical Sections

· Prop Typical Sections

Comments:___________________________________________________________________________ _______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Sequence of Work Outline for Traffic Control
· Traffic Control Plan (TCP should show a comprehensive method of how traffic is being handled during the duration of the project.  These sheets should contain typical construction sections, work zone pavement marking, channelization devices, signing appropriate for the various phases, detour routes, temporary signals, dynamic message signs, etc.)

· Update Construction Phasing and Sequence of Work Narrative
Comments:__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Plan & Profile Sheets

Plan View
· Min Design Values met

· Existing & Prop ROW 

· Existing Utilities

· Existing Edge of Pavement

· Existing Sidewalks, Curb, Driveways, Medians

· Existing Drainage Structures

· Prop. Roadway Alignments

· Prop. Curb, SW, Drvwy
· Prop. Drvy Penetrations
· Prop. Lane Dimensions

· Flow Direction Arrow

· Proposed Storm Drain (gray scale)

· Cross-Slopes PC/PT 

· P.I. Curve Data

· Cross Drainage Structures
· Legal Descrp/ Property Owner Info /Addresses
Profile View

· Min Design K Values met

· Proposed Vertical Alignment (LT & RT top of curb)
· Natural Ground
· LT and RT ROW
· Vertical Clearances (where required)

· Grades

· VPI Curve Data

· Cross Drainage Structures
· Retaining Wall Plans
Comments:________________________________________________________________________________________________________________________________________________________________ _____________________________________________________________________________________

Drainage

· Updated Drainage Calculations

· Drainage Area Map

· Storm Drain System Plan and Profiles 

· Storm Sewer & Channel Hydraulic Calculations (EGL/HGL)

· Storm Water Pollution Prevention Plan and narrative

· Inlet Cross Sections 

· Floodplain Permit

· Plan Submittal Requirements As per Section 4 - Drainage
Comments:________________________________________________________________________________________________________________________________________________________________________________________________________________________________










Traffic Engineering

· Intersection Layouts

· Traffic Signal Layouts, Equipment and Elevations

· Sign Layouts
· Pavement Marking Layouts

Comments:_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________







Standard Details(As Req’d)

· CoSA Standard Details by Reference Only (www.sanantonio.gov/CIMS)

· Special Details
· TxDOT Standard Details

· Other

Comments:__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Environmental
· Confirm Phase II Environmental Site Assessment has been completed

· Check permitting status

· Incorporate environmental information provided by EMD

Comments:____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________




Other 

· Street Cross Sections
· Channel Cross Sections
· Base Map of Existing Utilities w/ updated Quality Level identification
· Art Enhancement
· Tree Survey & Preservation Plan
Comments:_____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________



Submittal to City

· 70% Construction Plans (5 bound sets)

· Utility Coordination Report

· Updated Cost Estimates

· Construction Schedule

· Written Response to All Comments

· List of Governing Specifications, Special Provisions, and Special Specifications. 

· Insert Joint Bid Utility Plan Sheets

· Signed QA/QC Certification Form

· CD with *PDF’s and *DGN’s of all deliverables (Upload to Web Portal)

· Schedule Test Shutdown of  Water System with SAWS Rep
· Coordinate 70% Review Meeting

* See comments on 40% Checklist
General Comments: ___________________________________________________________________
_____________________________________________________________________________________

_____________________________________________________________________________________
_____________________________________________________________________________________
_____________________________________________________________________________________
_____________________________________________________________________________________
______________________________________________________________________________ 

